## Sheet1
ID | Functional Area Where Benefits Will Be Realized | Description | [6 empty] | Applicability | Publish Date
|  |  | Cost | Savings | Payback | Licensing Readiness | Technology Readiness | Implement Proficiency
MTA-EN-003-R1 |  | Manage Scope of Pre-stressed Concrete Embedded Cylinder Pipe (PCCP) Repairs Using Ultrasonic Inspection Methods | Level 3 | Level 3 | Level 3 | Level 3 | Level 3 | Level 3 | All Reactor Types | 04/23/2021
MTA-EN-009 |  | Digital Safety-Related Instrumentation and Control (I&C) System Modernizations | Level 1 | Level 3 | Level 1 | Level 3 | Level 2 | Level 2 | All Reactor Types | 12/14/2021
MTA-MA-017 |  | Volumetric Inspections of Inaccessible Buried Piping via Robotic Crawler | Level 3 | Level 2 | Level 3 | Level 3 | Level 3 | Level 3 | All Reactor Types | 12/15/2020
MTA-MA-018 |  | Reduce Large Heat Exchanger Replacement Costs Using Modified Crawler Vehicle | Level 3 | Level 2 | Level 3 | Level 3 | Level 3 | Level 3 | All Reactor Types | 12/15/2020
MTA-MA-006-R1 |  | Reduce Inspection Costs for Reactor Internals by Utilizing Automated Tooling and Remote Operated Vehicles (ROVs) | Level 2 | Level 2 | Level 3 | Level 3 | Level 3 | Level 3 | BWRs and PWRs | 12/14/2021
MTA-CY-001 |  | Reduce Steam Generator Deposit Fouling Using Polymeric Dispersant | Level 3 | Level 2 | Level 1 | Level 3 | Level 3 | Level 3 | PWRs | 12/15/2020
MTA-EN-005 |  | Improve Equipment Reliability and Performance by Implementing a Digital Turbine Control System Upgrade | Level 1 | Level 2 | Level 1 | Level 3 | Level 3 | Level 2 | All Reactor Types | 04/23/2021
MTA-EN-013 |  | Improving Reliability Through Digital Feedwater Level Control | Level 1 | Level 2 | Level 2 | Level 3 | Level 3 | Level 2 | All Reactor Types | 12/14/2021
MTA-EN-014 |  | Improving Reliability Through Digital Feedwater Heater Level Control | Level 1 | Level 2 | Level 2 | Level 3 | Level 3 | Level 2 | All Reactor Types
MTA-NF-001 |  | Reduce Fuel Cost by Utilizing an Optimum Time-Cost-of-Money Coastdown Strategy | Level 3 | Level 2 | Level 3 | Level 3 | Level 3 | Level 3 | LWRs | 12/15/2020
MTA-NF-004 |  | Increase Fuel Reliability, Performance, and Safety Combined with Lower Fuel Costs by using Accident Tolerant Fuel with Higher Enrichment and Burnup | Level 2 | Level 2 | Level 3 | Level 3 | Level 3 | Level 3 | All Reactor Types | 12/15/2020
MTA-NF-005 |  | Improving Moisture Carryover Predictions Using a Neural Network Model | Level 3 | Level 2 | Level 3 | Level 3 | Level 3 | Level 3 | BWRs | 12/15/2020
MTA-NF-006 |  | Reduce Fuel-Related Operating Costs Through Statistics-Driven Innovations | Level 3 | Level 2 | Level 2 | Level 3 | Level 3 | Level 3 | All Reactor Types | 12/15/2020
MTA-OP-001 |  | Improve Efficiencies with Digital Plant Viewer Software Application | Level 2 | Level 2 | Level 2 | Level 3 | Level 3 | Level 2 | All Reactor Types | 12/14/2021
MTA-PRA-002 |  | Extending Technical Specification Completion Times via Risk Managed Technical Specifications (RMTS) | Level 2 | Level 2 | Level 0 | Level 1 | Level 3 | Level 3 | BWRs and PWRs in the United States and other countries that adopt similar guidance as NEI 06-09, Rev 0A and TSTF-505, Revision 2. | 02/01/2025
MTA-SC-001 |  | Increase Cost Savings and Implement Savings Trending Using Enhanced Prioritization and Reporting Smart Applications (PE PRO and QRI Tracker) | Level 3 | Level 2 | Level 3 | Level 3 | Level 3 | Level 3 | All Reactor Types | 12/15/2020
MTA-SC-002 |  | Decreased Lost Generation Time by Improving Equipment Reliability through a Parts Quality Initiative Program | Level 3 | Level 2 | Level 2 | Level 3 | Level 3 | Level 3 | All Reactor Types | 12/15/2020
MTA-WM-001 |  | Reduce Operating Costs using Electronic Work Packages (eWPs) for Maintenance Work | Level 2 | Level 2 | Level 2 | Level 3 | Level 3 | Level 3 | All Reactor Types | 07/15/2021
MTA-WM-002 |  | Reduce Dose and Labor Hours using Digital Fuel Move Sheets (DFMS) | Level 3 | Level 1 | Level 2 | Level 3 | Level 3 | Level 3 | All Reactor Types | 12/14/2021
MTA-WM-003 |  | Improve Contractor Management Efficiency and Reporting using an Automated Contractor Spend Management Solution | Level 3 | Level 1 | Level 1 | Level 3 | Level 3 | Level 3 | All Reactor Types | 03/01/2023
MTA-MA-005 |  | Enhance Equipment Monitoring and Troubleshooting Techniques Using a Mobile Wireless Performance Monitoring Cart | Level 3 | Level 1 | Level 3 | Level 3 | Level 3 | Level 2 | All Reactor Types | 12/15/2020
MTA-SY-001 |  | Reduce O&M Costs Using Vehicle Search Mobile Application | Level undefined | Level 1 | Level undefined | Level 3 | Level 3 | Level 3 | All Reactor Types | 12/14/2021
MTA-TR-001 |  | Reduce Ultrasonic Testing (UT) Training and Examiner Proficiency Hands on Practice Costs using Virtual Nondestructive Evaluation Simulation | Level 3 | Level 1 | Level 1 | Level 3 | Level 3 | Level 3 | All Reactor Types | 12/14/2021
MTA-TR-002 |  | Improving Training Quality and Efficacy using Virtual Reality Technology | Level 3 | Level 1 | Level 3 | Level 3 | Level 3 | Level 2 | All Reactor Types | 12/14/2021
MTA-RP-001 |  | Risk-informed Condition Based Radiological Surveys Using Remote Radiation Monitoring Technologies | Level 2 | Level 1 | Level 2 | Level 3 | Level 2 | Level 2 | All Reactor Types | 12/15/2020
MTA-RP-002 |  | Reduce Dose Using Application-Specific, Prefabricated Lead Shielding Assembly | Level 3 | Level 1 | Level 3 | Level 3 | Level 3 | Level 3 | All Reactor Types | 12/15/2020
MTA-RP-003 |  | Reduce Dose and Labor Hours Using An Advanced Wearable Communication System | Level 3 | Level 1 | Level 3 | Level 3 | Level 3 | Level 3 | All Reactor Types | 12/15/2020
MTA-RP-004 |  | Remote Verification of Work Tasks to Reduce Plant Entries | Level 3 | Level 1 | Level 3 | Level 3 | Level 3 | Level 3 | All Reactor Types | 12/14/2021
MTA-NF-002 |  | Reduce Risk of Baffle Jetting by Modifying Core Coolant Flow Path | Level 1 | Level 1 | Level 1 | Level 3 | Level 3 | Level 3 | WEC plants with downward flow between baffle plates and core barrel | 12/15/2020
MTA-NF-003 |  | Increase Safety and Reduce Rechannels Through the Use of Advanced Materials in BWR Fuel Channels | Level 3 | Level 1 | Level 2 | Level 3 | Level 3 | Level 3 | BWRs | 12/15/2020
MTA-MA-029 |  | Reduce Inspection Cost for Isophase Bus Duct Using Robotic Crawler | Level 3 | Level 1 | Level 3 | Level 3 | Level 3 | Level 3 | All Reactor Types | 12/14/2021
MTA-MA-030 |  | Safety Improvement and Cost Savings for Underwater Inspections by Using Submersible Drones | Level 3 | Level 1 | Level 3 | Level 3 | Level 3 | Level 2 | All Reactor Types | 12/14/2021
MTA-MA-031 |  | Reducing Labor Cost and Dose in the Qualification and Installation of Non-welded Fittings in both Safety (SR)and Non-Safety Related (NSR) Applications | Level 3 | Level 1 | Level undefined | Level 2 | Level 3 | Level 3 | All Reactor Types | 02/01/2025
MTA-MA-023 |  | Reduce Maintenance Costs and Improve Plant Reliability by Implementing a Full Solid State Protection System (SSPS) Replacement | Level 1 | Level 1 | Level 1 | Level 3 | Level 3 | Level 2 | WEC PWRs with SSPS or Relay Protection System | 12/15/2020
MTA-MA-024 |  | Reduce Long-Term Plant Equipment Component Engineering and Maintenance Costs Using Wireless Vibration Sensors | Level 3 | Level 1 | Level 3 | Level 3 | Level 3 | Level 2 | All Reactor Types | 04/23/2021
MTA-MA-025 |  | Reduce Maintenance Costs and Time at Reduced Power by Extending the Maintenance and Test Intervals for Turbine Valves and the Turbine Overspeed Protection System (OPS) Using an Enhanced Turbine Missile Probability Model | Level 3 | Level 1 | Level 3 | Level 3 | Level 3 | Level 3 | All Reactor Types | 04/23/2021
MTA-MA-026 |  | Reduce Maintenance and Testing Using Hydrophobic Coatings for Emergency Service Water Pumps | Level 3 | Level 1 | Level 3 | Level 3 | Level 3 | Level 3 | All Reactor Types | 07/15/2021
MTA-MA-027 |  | Reduce Piping Inspection Costs and Worker Exposure through Risk-Informed In-Service Inspection Methodology | Level 3 | Level 1 | Level 2 | Level 3 | Level 3 | Level 3 | All Reactor Types | 12/14/2021
MTA-EN-015 |  | Automatic Identification and Quantification of Simultaneous Faults through Digital Twin Fault Inference | Level 3 | Level 1 | Level 3 | Level 3 | Level 3 | Level 3 | All Reactor Types | 02/01/2025
MTA-FD-001-R1 |  | Reduce Manual Compensatory Fire Watch Costs Using Mobile Fire Watch Carts | Level 3 | Level 1 | Level 3 | Level 3 | Level 3 | Level 3 | All Reactor Types | 04/23/2021
MTA-IT-001 |  | Reduce Administrative Overhead through Process Automation using Machine Learning and Artificial Intelligence | Level 3 | Level 1 | Level 2 | Level 3 | Level 3 | Level 2 | All Reactor Types | 12/15/2020
MTA-LS-001 |  | Reduce BWR Core Shroud Inspection Costs Using a Novel Ultrasonic Technique Able to Detect Off-Axis Flaws | Level 3 | Level 1 | Level 3 | Level 3 | Level 3 | Level 3 | Most BWR 3/4/5 Configurations | 12/15/2020
MTA-MA-001 |  | Gas Void Detection via Wireless Ultrasonic Monitoring | Level 3 | Level 1 | Level 2 | Level 3 | Level 3 | Level 3 | All Reactor Types | 12/15/2020
MTA-MA-002 |  | Reduce Motor Maintenance Costs Through On-Line Monitoring | Level 3 | Level 1 | Level 2 | Level 3 | Level 3 | Level 3 | All Reactor Types | 12/15/2020
MTA-EN-006-R1 |  | Increase Core Thermal Power by Reducing Uncertainty through Data Validation and Reconciliation | Level 3 | Level 1 | Level 2 | Level 3 | Level 3 | Level 3 | All Reactor Types | 12/14/2021
MTA-EN-007 |  | Improved Thermal Performance Through Cycle Isolation Monitoring | Level 3 | Level 1 | Level 2 | Level 3 | Level 3 | Level 3 | All Reactor Types | 12/14/2021
MTA-EN-008 |  | Reduce Dose and Maintenance Costs of Flow-Accelerated Corrosion Piping Inspections using Structural Health Monitoring Ultrasonic Sensors | Level 3 | Level 1 | Level 1 | Level 3 | Level 3 | Level 3 | All Reactor Types | 12/14/2021
MTA-EN-001 |  | Reduce Maintenance Costs Using Wireless Gauge Readers | Level 3 | Level 1 | Level 2 | Level 3 | Level 3 | Level 2 | All Reactor Types | 12/15/2020
MTA-EN-002 |  | Reduce Dose and Maintenance Costs of Heat Exchanger Shells Using Structural Health Monitoring Guided Wave Sensors | Level 3 | Level 1 | Level 1 | Level 3 | Level 2 | Level 2 | All Reactor Types | 12/15/2020
MTA-EN-004 |  | Increase Control Element Drive Mechanism (CEDM) Lifespan and Reliability Through High-Temperature CEDM Gripper Coil | Level 2 | Level 1 | Level 1 | Level 3 | Level 3 | Level 3 | Combustion Engineering (CE) reactors | 04/23/2021
MTA-MA-007 |  | Reduce Cost of Oil Analysis for Large Oil Reservoirs Using Online Oil Sensors | Level 3 | Level 1 | Level 3 | Level 3 | Level 3 | Level 2 | All Reactor Types | 12/15/2020
MTA-MA-008 |  | Reduce Heat Exchanger Maintenance Costs through Online Monitoring | Level 3 | Level 1 | Level 1 | Level 3 | Level 3 | Level 2 | All Reactor Types | 12/15/2020
MTA-MA-009 |  | Reduce Pump Maintenance Costs through Online Monitoring | Level 3 | Level 1 | Level 2 | Level 3 | Level 3 | Level 2 | All Reactor Types | 12/15/2020
MTA-MA-010 |  | Reduce Compressor Maintenance Costs through Online Monitoring | Level 3 | Level 1 | Level 2 | Level 3 | Level 3 | Level 2 | All Reactor Types | 12/15/2020
MTA-MA-011 |  | Reduce Coupling Maintenance Costs through Online Monitoring | Level 3 | Level 1 | Level 2 | Level 3 | Level 3 | Level 2 | All Reactor Types | 12/15/2020
MTA-MA-012 |  | Reduce Main Condenser Maintenance and Inspection Costs and Improve Thermal Performance through Online Monitoring | Level 3 | Level 1 | Level 2 | Level 3 | Level 3 | Level 2 | All Reactor Types | 12/15/2020
MTA-MA-013 |  | Turbine-Generator Shaft Torsional Vibration Monitoring Using an RF-Powered Multi-Sensor Module | Level 3 | Level 1 | Level 3 | Level 3 | Level 3 | Level 3 | All Reactor Types | 12/15/2020
MTA-MA-014 |  | Reduce Air Handling Equipment Maintenance Costs through Online Monitoring | Level 3 | Level 1 | Level 2 | Level 3 | Level 3 | Level 2 | All Reactor Types | 12/15/2020
MTA-MA-015 |  | Increase Steam Generator Deposit Removal Capacity and Cost Savings Through Inhibited Advanced Scale Conditioning Agent (iASCA) and Consolidated Deposit Extraction (CODE) Treatment | Level 2 | Level 1 | Level 2 | Level 3 | Level 3 | Level 3 | PWRs | 12/15/2020
MTA-MA-016 |  | Reduce Scheduling Cost, Dose, and Waste in Inspection of Steam Generator Tubing Using an Enhanced Bobbin Eddy Current Coil Inspection Technique | Level 3 | Level 1 | Level 2 | Level 3 | Level 3 | Level 3 | PWRs | 12/15/2020
MTA-MA-019 |  | Extend Calibration Intervals Using Historical Calibration Data | Level 2 | Level 1 | Level 2 | Level 3 | Level 3 | Level 3 | All Reactor Types | 12/15/2020
MTA-MA-020-R1 |  | Reducing Condenser Inspection Costs Using Unmanned Aerial Vehicles (UAV) | Level 3 | Level 1 | Level 3 | Level 3 | Level 3 | Level 3 | All Reactor Types | 03/01/2023
MTA-MA-021-R1 |  | Reducing Costs Using Unmanned Aerial Vehicles (UAV) for Containment Inspections | Level 3 | Level 1 | Level 3 | Level 3 | Level 3 | Level 3 | All Reactor Types | 03/01/2023
MTA-EN-010 |  | Reduce Plant Personnel Burden by Using Camera-Based Analog Gauge Position Readers | Level 3 | Level 1 | Level 3 | Level 3 | Level 3 | Level 2 | All Reactor Types | 12/14/2021
MTA-EN-011 |  | Implementation of Sensors for Post-Tensioned Tendons | Level 3 | Level 1 | Level 1 | Level 3 | Level 3 | Level 3 | Reactors with post-tensioned containments | 12/14/2021
MTA-EN-012 |  | Improving Implementation of Digital Upgrades by Adopting EPRI’s Digital Engineering Guide | Level 3 | Level 0 | Level 0 | Level 3 | Level 3 | Level 3 | All Reactor Types | 12/14/2021
MTA-MA-022 |  | Improve Online Equipment Condition Monitoring using Electrical Signature Analysis (ESA) | Level 2 | Level 0 | Level 0 | Level 3 | Level 2 | Level 3 | All Reactor Types | 12/15/2020
MTA-MA-003 |  | Implement Wireless Network Infrastructure Using a Distributed Antenna System (DAS) | Level 2 | Level 0 | Level 0 | Level 3 | Level 3 | Level 2 | All Reactor Types | 12/15/2020
MTA-MA-004 |  | Implement Wireless Network Infrastructure Using WiFi | Level 1 | Level 0 | Level 0 | Level 3 | Level 3 | Level 2 | All Reactor Types | 12/15/2020
MTA-MA-028 |  | Reduce Inspection Costs Using an Internal Unmanned Aerial System (UAS) Program | Level 3 | Level 0 | Level 0 | Level 3 | Level 3 | Level 3 | All Reactor Types | 12/14/2021
MTA-PRA-001 |  | Increase Operational Flexibility of Pressure Boundary Components Using an Enhanced Risk-Informed Categorization Methodology | Level 3 | Level 0 | Level 0 | Level 3 | Level 3 | Level 3 | All Reactor Types | 12/15/2020